Introduction

Integrating sustainability into an organization’s operations may sound easy.  However, knowing WHAT to integrate is the key issue.  The following “Quick Start” Guide is based on the Massachusetts Food Association (MFA) Member Green Guidelines, which was developed by MFA member companies and is based on a model created by the New Jersey Food Council.  It provides a snapshot or short checklist of the sustainability issues and potential resources for food retailers.

This Guide may be most useful to those retailers that are interested in getting an initial start on understanding sustainability in their operations.  It should be helpful to those responsible for sustainability as it provides a concise list of some of the first things a retailer should think about when approaching sustainability in operations.  This Guide is broken into sections to help users develop individual checklists to be circulated to those in more specific functions, such as energy use, to help them get started on implementing sustainability in their day-to-day operations.

Since this Guide may be shared in virtual or hard copy, hyperlinks are embedded as well as provided in the Appendix to the document.

Note of Caution:  This Guide is not a “one-stop-shop” on sustainability.  Sustainability and its impact and opportunities in the food retail sector are constantly changing and evolving.  Companies that take a holistic and strategic approach to sustainability, find the most success.  While this Guide can be used to help with implementation of sustainability, it should not be used in isolation.  Sustainability is not an end point or specific process, it is a new way to do business and should permeate all aspects of an organization.  This Guide can be customized by each organization to help implement specific sustainability strategies.  For more details on developing your sustainability strategy as well as more information on implementation, please see FMI Sustainability Starter Kit.

It has been estimated that approximately 80% of a retailers sustainability issues are in the supply chain.  For example, the energy to produce a hamburger far outweighs the energy it takes to keep it cold in the store.  While actions in-store are a critical piece, they are not perceived by many stakeholders as enough.  For assistance in understanding sustainability in the supply chain, please see FMI's Sustainability on the Shelves: A Guide for Category Managers and Buyers.

1. Assessing Your Environmental Footprint

The first step towards understanding sustainability issues in your operations, is to conduct an “Eco” or Environmental footprint.  There are three priority areas to consider: 1) water 2) waste and 3) energy.

There are three parts to understanding your water footprint – water use, wastewater discharge and stormwater discharge.  Most areas in the U.S. charge for water use and wastewater discharge.  A relatively new cost that is starting to emerge in some parts of the U.S is stormwater maintenance.  This is based on the square footage of impervious coverage (buildings and impervious parking areas) and the funds are used for upgrades to region’s stormwater management systems.

To understand the scope of your waste footprint, please go the U.S. Environmental Protection Agency’s Waste Wise Program for a range of free resources and guides.

Energy and Greenhouse Gas Emissions are a growing issue for companies in the U.S. While there is no federal legislation to limit or reduce greenhouse gas emissions at this point, there is a patchwork of state and local initiatives.  Further, reducing energy use, saves money.  Many utilities now offer programs and incentives to increase energy efficiency.  To calculate your carbon footprint, please go to FMI’s Carbon 101.

References to conducting specific aspects of your environmental footprint are integrated into the sections below.

2. Reducing Your Environmental Footprint

Once you understand your environmental footprint, you can start to prioritize where you can make reductions.  Many retailers have found a focus on environmental footprint reduction leads to significant cost savings.

a. “Green Buildings” or LEED Certification

LEED, or Leadership in Energy and Environmental Design, is an internationally-recognized green building certification system. Developed by the U.S. Green Building Council (USGBC) in March 2000, LEED provides building owners and operators with a framework for identifying and implementing practical and measurable green building design, construction, operations and maintenance solutions as well as certification performance benchmarks.

There is LEED Certification for:

- New Construction

- Existing Buildings

- Commercial Interiors

While LEED certification has become very popular in the food retail sector, many companies just want to make incremental improvements in their operations.  The following offers a list of areas and efforts that should be considered:

b. Energy Conservation– The food distribution industry is a high end-user of energy through many facets of use, including lighting, routine office equipment requirements, HVAC and refrigeration needs to deliver safe and healthful products efficiently to consumers.  Although the industry continuously strives for progressive efficiency, there is always room for improvement in these areas through such means as:

Lighting

- Conduct a comprehensive commercial energy audit of your facility to identify conservation measures (working with your utility, your state office for energy or other contractor)

- Complete a “Facility Energy Audit Program” available through your local utility company or educational institution.

- Replace facility lighting fixtures with those recommended by local energy companies in their energy audit.

- Replace existing standard fluorescent lamps and ballasts to four-foot, high efficiency florescent (T8) lamps or T5 fixtures/lamps and electronic ballasts.

- Use LED lighting in areas where feasible (exit signs, etc.).

- Use day lighting or skylights for a portion of indoor lighting needs, switch off general lighting as a result.

- Use lighting output controls such as:

  - Occupancy sensors.

  - Photocells (motion sensors).

  - Bypass/Delay timers.

  - Time clock (adjusted seasonally).

- Disconnect used ballast in fluorescent fixtures that are not currently in use and replace burned out lamps quickly to avoid ballast damage.

- Clean light fixtures (reflectors and lenses) once a year.

Office Equipment

- Purchase EPEAT registered electronic products (or that have energy savings features) such as computers (includes Monitor, Scanner, Printer), Copy/Fax machines, or multifunction devices.

- Activate all energy savings features, if available.

- Plug all equipment that can be turned off into time switches to make sure they are turned off after hours.

HVAC (Heating Ventilation and Air Conditioning Systems)

- Use natural gas system instead of an electrical system.

- Capture exhaust heat from refrigeration system for water heating or other use through a heat recovery system where feasible.

- Install reflective or light colored roofing to minimize summer heat gain.

- Insulate all indoor and outdoor heating, and cooling pipes and ducts.

- Install timer switches on radiant space heaters.

- Use ceiling fans to circulate air.

- Replace or supplement an A/C system with an evaporative cooler.

- Use economizers on A/C to increase air circulation.

- Change HVAC filters on a regular schedule.

- Use HVAC output control, bypass timers and/or time clocks.

- Set thermostats at/or below 68 degrees for heating and at/or above 78 degrees for cooling; adjust accordingly for after hours.

- Use window film or shades to reduce solar heat gain.

- Have your system re-commissioned every 2 years or on a regular basis.

Refrigeration Systems

- Use environmentally-friendly refrigerants.

- Explore usage of a Free Air system, if applicable.

- Install controller for running times temperature control with an alarm system that signals when temperatures are too high or too low.

- Keep air discharge and return grilles clear through effective case/stock management.

- Install a monitoring system to detect refrigerant leaks.

- Regularly check all seals on freezer and cooler doors, replace as necessary.

- Install anti-sweat controls in freezer doors.

- Use night shades on open coolers.

- Have your system re-commissioned every 2 years.

- Install vending misers (timers) on beverage machines.

Other Energy Conservation Measures

- Become Energy Star Certified through the EPA’s Benchmarking Program.

- Use signs to remind staff to turn off lights and keep doors (cooler and outside) closed.

c.  Water Conservation– Our industry’s needs for this valuable resource have forced us to reevaluate its continuous use through measures that reduce its demand while increasing the efficiency and reusability of water, which can be accomplished by utilizing the following:

Water Conservation and Leaks

- Regularly review all consumption information provided on your water bill.  Learn to read your meter.  Compare current consumption to the prior year during the same period.  If consumption is abnormally high, check toilets and other fixtures for leakage and read your water meter during off hours to detect involuntary consumption.

- Install and/or replace all manual faucets with automatic shut off faucets.

- Use low flow faucets and sprayers in pot wash areas of food preparation spots.

- Have your local wastewater utility or a water conservation service conduct a commercial water audit of your facility to help identify the conservation measures to use at your facility.

- Regularly check for and repair all water leaks in your facility.

Sanitary Fixtures

- Replace existing toilets with water conserving 1.6-gallon maximum flush models.

- Retrofit existing pre-1980 five-gallon flush toilets with the quick closing flappers to lower flush to 3.5 gallons per flush.

- Adjust urinals to 1.0 gallons per flush.

- Use low-flow lavatory faucet aerators (1.5 gallons per minute or less).

- Use waterless urinals.

Landscaping

- Implement storm water best management practices such as bioswales or storm water retention basins.

- Install a permeable paving system or other storm water reduction surface in parking lots.

- Use plants that are drought tolerant (water conserving) and native to the area.

- Use irrigation bags for rainwater capture on tree plantings.

- Install rain shut-off devices or moisture sensors to override automatic irrigation when adequate moisture exists.

- Limit the number of days lawns are irrigated to a maximum of 3-4 days per week during the summer, 2-3 days in the spring and fall and shut off in winter months.  Trees and shrubs should be watered no more than 2 days per week in the summer, 1-2 days in the spring and fall and not in the winter.

- For landscaping on slopes or in narrow planting strips, prevent runoff by scheduling multiple run times for short periods (3-5 minutes), with at least an hour between water applications.

- Valves are separated based on water use (hydro zone). (Example: Grass lawns will always require more water then shrub beds.)  Change your watering times and zones accordingly.

- Apply at least two inches of mulch in all non-turf planting areas.  Use local compost when practical.

- Control sprinkler discharge by measurement of output so that no more than 1.5” is discharged per week.

d.  Waste Reduction and Recycling – The food distribution industry has historically been a leader in waste reduction and recycling, beginning with cardboard, shrink wrap and product waste being recycled and/or turned into an alternative, useful product such as compost.  Efforts to continue efficiency in these areas can be accomplished by practicing the following:

- Refer back to Section 1 and assessing your waste footprint utilizing resources through U.S. EPA Waste Wise Program.  You can also have a waste audit/assessment completed for your facility (by a waste company, academic institution or independent consultant) to help identify the waste reduction, reuse and recycling practices that would best work for your facility and review recommendations.  Facilities should contact state DEPs or their municipal or county recycling coordinator for information about local markets and general recycling support.

- Prepare an annual tonnage report that documents your recycling efforts or food donation programs.

- Source separate and reuse and/or recycle the following:

  - Organic Materials (food, landscaping, etc. diverted for composting).

  - Electronic waste (computers, registers, etc.).

  - Bulky waste (fixtures, equipment).

  - Used cooking oil recycled for energy, locally.

  - Rendering for animal wastes.

  - Cardboard.

  - Waxed cardboard (if separate from organics).

  - Commingled containers (glass, metal, plastic).

  - Rechargeable batteries.

  - Inkjet or other printer cartridges.

  - Mixed paper.

  - Wood pallets.

  - Other packing materials (e.g. shrink/stretch film, bubble wrap, foam, peanuts).

  - Beverage bottles and cans (consumed by workplace associates).

  - Rigid plastic pails and containers emptied within each department.

- Offer consumer recycling (public) when feasible for such materials as:

  - Plastic shopping bags including dry-cleaning and other stretch films (see #1 under this heading, Waste Reduction).

  - Reverse vending machines or bottle deposit return systems as required.

  - Currency, as through a Coin Star machine.

- Make double sided printing and copying a standard practice.

- Remove your company’s name from junk mail lists and purge your own mailing lists to eliminate duplication.

- Use software programs that allow you to fax and e-mail directly to/from your computer without printing.

- Use eco-friendly and/or reusable packaging alternatives including:

  - Milk crates, soda jugs or other vendor provided reusable packaging.

  - Reusable pallets.

  - Reusable distributor containers (such as plastic totes, bread trays, floral or produce flats and boxes/crates).

  - Disposable containers for customer purchases (items that are made from biomaterials or are recyclable).

  - Install electronic swipe cards in lieu of employee time cards.

e.  Specific Climate Change Actions – In addition to energy conservation efforts, further measures can also be taken to reduce the carbon footprint created by our industry during the delivery, acceptance and storage of product, including the following:

- Join the EPA GreenChill Refrigeration Program, Green Power Partners, or Smart Way Transportation Program.

- Install a clean energy source at your facility (e.g. Solar panels, fuel cell).

- Reduce the impact of trucking fleets and distribution network by using backhauling, hybrid technologies, biofuel, or other sustainable practices if applicable.

- Purchase clean energy offsets for your facility’s use, at least 25%.

- Post no idling signs or encourage vendors waiting to unload or at loading docks to turn off engines.

- Reduce idling times through idling time allotments or “no idling zones”.

f. Truck Fleets (if applicable) – For operators with truck fleets or those involved in the transportation of product, several steps can be taken to conserve fossil fuels, increase reliance on alternative fuels, reduce emissions, increase recycling of engine liquids and parts, reduce maintenance discharge pollutants and other environmental areas of concern with vehicle maintenance.  As also referenced above, U.S. EPA's Smart Way Transportation Program and its related Climate Change Resources section has many free tools and resources to help increase the efficiency of your fleet programs.  Some specific items include:

- Send used lead-acid batteries to an off-site recycler. (The main pollution prevention options for used batteries are to keep the batteries intact and then recycle them.).

- Install reusable oil filters on at least 25% of your fleet.

- Recycle waste oil, transmission and hydraulic oil.

- Use cube system to maximize truck routing capacity.

- Extend the life of your engine oil by at least 25% in 25% or more of your vehicles. (Example: use synthetic blend oil, which changes the life of the oil from 3,000 miles to 5,000 miles).

- Substitute the less toxic propylene glycol for ethylene glycol in 25% of fleet vehicles.

- Explore possible use of biofuels.

- Recycle all of your waste antifreeze on-site.

- Achieve zero discharge by not discharging any process wastewater (e.g. floor parts or steam cleaning; car washing) to the sanitary sewer or storm drain systems.

- Use dry cleanup method-for floor cleaning. (Example: Use a Zamboni self-contained floor cleaner, which vacuums excess water.).

- Seal off all floor drains, trenches, sumps and oil/water separators.  Prevent all shop fluids from entering storm drains.

g. Housekeeping and Operating Practices – Daily upkeep and inventory business procedures and operations can also be evaluated to decrease their environmental impact through reasonable steps with employee involvement, including:

Cleaning Products and Procedures

- Use Green Seal (or equivalent) Certified cleaners and degreasers.

- Use an alternative launderer for uniforms and linens – such as CO2 or Wet Cleaning technologies.

- Use Green Seal (or equivalent) Certified floor stripper and wax.

Inventory control procedures to reduce waste generation and material

- Minimize the inventory of fluids and chemicals onsite.  Stock only what you need and order materials on a “just-in-time” basis.

- Work with vendors to return excess or expired stock.

Employee Programs

- Have an active (meets at least quarterly with representation from a majority of the departments) Green Team or Environmental Committee in your facility.

- Include environmental education in employee training.

- Offer employees incentives to use public transportation or carpooling for commuting.

h.  General Supply Purchasing – Other business and administrative practices on a daily basis can reduce a company’s impact on the environment by implementing the following procedures:

- Implement an Environmentally Preferable Purchasing Program for office supplies.

- Buy and use, recycled content products, such as:

  - Office supplies (paper, ink cartridges, folders).

  - Paper towels, tissues, etc.

  - Promotional materials/flyers.

  - Boxes and bags for packaging consumer purchases.

  - Garbage pails and garbage bags.

  - Parking lot curb stops, picnic tables, benches

3. Community Give-Back and Green Incentives – Participation in the community has long been advantageous for the food industry and helps to sustain hunger programs while decreasing the amount of wasted product through such steps as listed:

- Participate in a local food rescue program such as donating to the Community Food Bank or Pantry to help end hunger in the community and state.  Also, support locally grown gleaning efforts, support Feeding America initiatives encourage community support for in-store food drives, etc.

- Donate a percentage of sales or profits to environmental non-profit organizations each year.

- Partner with a community organization on an environmental project (such as a Clean Communities Day).

- Provide customer incentives for bag-reuse.

- Provide bike racks for employees, shoppers, etc.

- Provide information about public transportation options to and from your location to customers and vendors (where applicable).

- Check/update with each community on their waste disposal programs (sale of appropriate trash bags, pay per throw, community posters promoting curbside, etc.).

- Check/update with each community on what they recycle, particularly in light of rapid changes to sustainable packaging within the industry.

- Support and encourage participation in Earth Day (April 22nd annually) America Recycles Day (November 15 annually) & other community activist activities when appropriate.

4. Education and Communications

Consumers: Continuing to help and educate consumers to reduce their environmental impact and providing useful information helps the community at large through such simple steps as listed:

- Include environmental information/publications in your café, vestibule, or bulletin board.

- Include environmental education in your printed or electronic promotional materials e.g. weekly circular, website.

- Work with suppliers on environmental promotions.

Employees

This creates an opportunity to increase employee morale and demonstrates that your business cares about employees which could ultimately translate into better customer service.

- Encourage and contribute financially to continued education for employees.

- Require and pay for managers to attend managerial training classes.

- Allow employees access to a company employee handbook.

- At least once a year and on a set schedule conduct employee reviews.

- Have a diversity hiring policy.

- Incorporate sustainability orientation in new employee training (training video demonstrating green aspects of the operation (recycling, energy efficiency, water conservation, etc.).

- APPENDIX –

The following is a list of links that are referenced in the Guide.  Links are listed under the Guide sections in which they are referenced.

Introduction:

FMI Sustainability Starter Kit: http://www.fmi.org/forms/store/ProductFormPublic/search?action=1&Product_productNumber=2274

FMI Sustainability on the Shelves: A Guide for Category Managers and Buyers http://www.fmi.org/forms/store/ProductFormPublic/search?action=1&Product_productNumber=2324

Eco-Footprint Resources:

EPA Waste Wise:

http://www.epa.gov/wastes/partnerships/wastewise/plan-program.htm

FMI’s Carbon 101

http://www.fmi.org/docs/sustainability/fmi_9078_carbonfootprint_v4.pdf

Energy Conservation

Eco-Friendly Refrigerants:

http://epa.gov/ozone/snap/refrigerants/lists/foodref.html

Free Aire Company:

http://freeaire.com/

EPA Energy Star Building Certification:

http://www.energystar.gov/index.cfm?c=business.bus_index

EPA Green Chill Partnership

http://www.epa.gov/greenchill/

EPA Green Power Partnership

http://www.epa.gov/greenpower/

Truck Fleets

EPA Smartway Program: http://www.epa.gov/smartway/

EPA Transportation, Air Quality and Climate:

http://www.epa.gov/otaq/climate/relatedlinks.htm

Housekeeping and Operating Practices

Greenseal Program: www.greenseal.com

Community Giveback and Green Incentives

Feeding America:

http://feedingamerica.org/

Earth Day website:

http://www.earthday.net/

America Recycles Day:

www.americarecyclesday.org

# Text boxes

The last part [of your water bill] is the stormwater charge, which is the cost of collection and treatment of all rain water in the City that drains to our

waterways or to our sewer collection system.

Philadelphia Water Department

“By building our third LEED grocery store, we will reduce energy costs by more than 20% compared to a typical supermarket, as well as conserve 40% more water than other Food Lion stores,”

Kyle Mitchell, VP Delhaize America South

Supervalu Inc. and its Albertsons brand of supermarkets have announced that they will move 40 stores to be zero waste by March 2012.